## EMT Worksheet
EMT Conduit Calculations
100 Amp Panel |  | # of 100A Panels | 0
Module Length |  | # of 125A Panels | 0
Est Conduit Length per panel | 0 | # of 150A Panels | 0
|  | # of 200A Panels | 0
|  | # of 225A Panels | 0
|  | # of 400A Panels | 0
125 Amp Panel
Module Length | 40 | Total LF of Conduit | 0
Est Conduit Length per panel | 80
150 Amp Panel
Module Length
Total width of units served
Est Conduit Length per panel | 0
200 Amp Panel
Module Length | 60
Total width of units served | 12
Est Conduit Length per panel | 324
225 Amp Panel
Module Length
Total width of units served
Est Conduit Length per panel | 0
400 Amp Panel
Module Length
Total width of units served
Est Conduit Length per panel | 0

## EMT 3PH Worksheet
EMT Conduit Calculations
3 Phase
100 Amp Panel - 3PH |  | # of 100A Panels
Module Length |  | # of 125A Panels
Est Conduit Length per panel | 0 | # of 150A Panels
# of 200A Panels
# of 225A Panels
# of 400A Panels
125 Amp Panel - 3PH
Module Length |  | Total LF of Conduit | 0
Est Conduit Length per panel | 0
150 Amp Panel - 3PH
Module Length
Total width of units served
Est Conduit Length per panel | 0
200 Amp Panel - 3PH
Module Length
Total width of units served
Est Conduit Length per panel | 0
225 Amp Panel - 3PH
Module Length
Total width of units served
Est Conduit Length per panel | 0
400 Amp Panel - 3PH
Module Length
Total width of units served
Est Conduit Length per panel | 0

## EMT
EMT Conduit Run Estimates
Panel Size | Est # of 20A Circuits | Estimated Conduit runs per panel | Formula
100 Amp Panel | 4 circuits | 1.5 runs of Module Length | (ML)(Y) x 1.5
125 Amp Panel | 5 circuits | 2 runs per Module Length | (ML)(Y) x 2
150 Amp Panel | 8 circuits | 4 runs of Module Length - plus total width of units served | ((ML)(Y) x 4)) + W
200 Amp Panel | 16 circuits | 5 runs of Module Length - plus 2 times the total width of units served | ((ML)(Y) x 5)) + 2W
225 Amp Panel | 20 circuits | 6 runs of Module Length - plus 2 times the total width of units served | ((ML)(Y) x 6)) + 2W
400 Amp Panel | 30 circuits | 10 runs of Module Length - plus 3 times the total width of units served | ((ML)(Y) x 10)) + 3W
100 Amp Panel - 3PH | 8 circuits | 3 runs of Module Length | (ML)(Y) x 3
125 Amp Panel - 3PH | 10 circuits | 4 runs per Module Length | (ML)(Y) x 4
150 Amp Panel - 3PH | 16 circuits | 6 runs of Module Length - plus 2 times the total width of units served | ((ML)(Y) x 6)) + 2W
200 Amp Panel - 3PH | 20 circuits | 7 runs of Module Length - plus 3 times the total width of units served | ((ML)(Y) x 7)) + 3W
225 Amp Panel - 3PH | 30 circuits | 10 runs of Module Length - plus 3 times the total width of units served | ((ML)(Y) x 10)) + 3W
400 Amp Panel - 3PH | 42 circuits | 15 runs of Module Length - plus 4 times the total width of units served | ((ML)(Y) x 15)) + 4W
| ML | Module Length of units served by panel
| W | Total Module Width of all units served by panel
| Y | Number of Modules served by panel

## MC Worksheet
MC Cable Calculations
100 Amp Panel |  | # of 100A Panels
Module Length |  | # of 125A Panels | 0
Est MC Cable Length per panel | 0 | # of 150A Panels | 1
125 Amp Panel
Module Length | 60 | Total LF of Conduit | 264
Est MC Cable Length per panel | 150
150 Amp Panel
Module Length | 60
Total width of units served | 24
Est MC Cable Length per panel | 264

## MC
MC Cable Run Estimates
Panel Size | Est # of 20A Circuits | Estimated Conduit runs per panel | Formula
100 Amp Panel | 4 circuits | 2 runs of Module Length | (ML)(Y) x 2
125 Amp Panel | 5 circuits | 2.5 runs per Module Length | (ML)(Y) x 2.5
150 Amp Panel | 8 circuits | 4 runs of Module Length - plus total 2 times width of units served | ((ML)(Y) x 4)) + 2W
| ML | Module Length of units served by panel
| W | Total Module Width of all units served by panel
| Y | Number of Modules served by panel