## Snow Load Conversion
ROOF SNOW LOAD (Low Slope), Pf
| Building Width: | 24 |  | Building Length: | 60 | Roof Slope: | Transverse/Complex |  | ASCE 7-10: | 2012, 2015 IBC |  | ASCE 7-10 |  |  | 34.986 | <---Cs formulas for sloped roofs (Not used) (Formulas for top portion)
[9 empty] | ASCE 7-16: | 2018, 2021 IBC |  | ASCE 7-16 |  |  | 36.0144 | <---Cs formulas for sloped roofs (Not used) (Formulas for bottom portion)
|  | Design Ground Snow Load (Pg) = | 42 | psf |  | ASCE Year: | ASCE 7-22 |  | ASCE 7-22: | 2024 IBC, FL, VA |  | ASCE 7-22
|  | Wind Exposure = | C | [11 empty] | 34.986 | <---Formula for Pf
|  | Exposure (Ce) = | 1 |  |  | Roof Insulation Value (R): | 50 | <--Round up to nearest value | [6 empty] | 30 | <---Formula for Pm
|  | Ventilate Roof?: | No | [11 empty] | 1.19 | <---Formula for Ct
|  | Thermal Factor (Ct) = | 1.19 |  |  |  | *Default Wind Eposure C if information is unknown | [7 empty] | 1 | <---Formula for Is
|  | Risk Category = | II |  |  |  | *Default Risk Category II if information is unknown | [7 empty] | 0 | <---Formula Rain-on-Snow Surcharge
|  | Importance Factor (Is) = | 1 |  |  |  | *See next tab for Wind Exposure and Risk Category descriptions
|  | Enter Roof Slope (decimals) = | 0.25 | in 12 (Max 3:12) | [7 empty] | Thermal Factor, Ct for Heated structures with Unventilated Roofs (Table 7.3-3 of ASCE 7-22)
|  | Roof Slope (Degrees) = | 1.1935 | [8 empty] | Rroof | Uroof | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 105
|  | Roof Snow Load (Pf) = | 34.986 | psf | [7 empty] | 20 | 0.05 | 1.2 | 1.11 | 1.05 | 1.01 | 1 | 1 | 1 | 1
|  | Min. Roof Snow Load (Pm) = | 30 | psf | [7 empty] | 30 | 0.033333 | 1.2 | 1.17 | 1.14 | 1.13 | 1.12 | 1.11 | 1.1 | 1.1
|  | Eave to Ridge Distance = | 30 | ft | [7 empty] | 40 | 0.025 | 1.2 | 1.19 | 1.17 | 1.16 | 1.16 | 1.15 | 1.15 | 1.15
|  | Rain-on-Snow Surcharge Load = | 0 | psf | [7 empty] | 50 | 0.02 | 1.2 | 1.2 | 1.19 | 1.19 | 1.19 | 1.18 | 1.18 | 1.18
|  | Calculated Roof Snow Load (Pf) = | 34.986 | psf | [8 empty] | Row | <--Interpolated values -->
|  | (Pf = 0.7PgCeCtIs) | [8 empty] | Using R = | 50 | 4 | 1.2 | 1.2 | 1.19 | 1.19 | 1.19 | 1.18 | 1.18 | 1.18
ROOF SNOW LOAD TO GROUND LOAD CONVERSION | [10 empty] | Pg = | 42 |  |  |  |  | 1.19
[11 empty] | Use Ct= | 1.19
|  | Roof Snow Load = | 30 | psf | Note: Values above need to be adjusted accordingly (Cells D6, D8, D10 & D12)
|  | Ground Snow Load = | 36.0144 | psf
Table 7.3-1. Exposure Factor, Ce
[13 empty] | Fully | Partial | Sheltered
[12 empty] | B | 0.9 | 1 | 1.2
[12 empty] | C | 0.9 | 1 | 1.1
[12 empty] | D | 0.8 | 0.9 | 1
[12 empty] | Partial | <--Default is Partially Exposed
[12 empty] | 1 | <--Formula changes based on Exposure above

## Risk Cat. - Exposure
Risk Category | Nature of Occupancy |  |  | Note: RED is new to the 2024 IBC
I | Buildings and other structures that represent a low hazard to human life in the event of failure, including bu not limited to: |  | <---Risk Cat. I is very rare
-Agricultural facilities.
-Certain temporary facilities
-Minor storage facilities
II | Buildings and other structures except thos listed in Risk Categories I, III and IV. |  | <---Most common risk Category
III | Buildings and other structures that represent a substantial hazard to human life in the event of failure, including but not limited to:
|  | -Florida State Funded Educational Facilities (SREF) | <---Common Item
|  | -Buildings and other structures whose primary occupancy is public assembly with an occupant load greater than 300. | <---Common Item
-Buildings and other structures containing one or more public assembly spaces, each having an occupant load greater than 300 and a cumulative occupant load of these public assembly spaces greater than 2,500.
|  | -Buildings and other structures containing E or Group I-4 occupancies or conbination thereof, with an occupant load greater than 250. | <---Common Item
-Buildings and other structures containing educational occupancies for strudents above the 12th grade with an occupant load greater than 500.
-Group I-3, Condition 1 occupancies.
-Any other occupancy with an occupant load greater than 5,000.
-Power-generating stations with individual power units rated 75 Mwac (magawatts, alternating current) or greater, water treatment facilities for potable water, wasstewater treatment facilities and other public utility facilities not included in Risk Cat. IV.
-Buildings and other structures not included in Risk Cat. IV containing quantities or toxic or explosive materials that:
1. Exceed maximum allowable quantities per control area as given in Table 307.1(1) or 307.1(2) per outdoor control area in accordance with the IFC.
2. Are sufficient to pose a threat to the public if realeased.
IV | Buildings and other structures designated as essential facilities and buildings where loss of function represents a substantial hazard to occupants or users, including but not limited to:
-Group I-2, Condition 2 occupancies.
-Ambulatory care facilities having emergency surgery or emergency treatment facilities.
-Group I-3 occupancies other than Condition 1.
|  | -Fire, rescue, ambulance and police stations and emergency vehicle garages. | <---Apply to fire station(s) sleeping quarters
-Designated eartquake, hurricane or other emergency shelters.
-Public utility facilities providing power generation, potable water treatment, or wastewater treatment.
-Power-generating stations and other public utility facilities required as emergency backup facilties required for emergency response.
-Buildings and other structures containing quantities of highly toxic materials that:
1. Exceed maximum allowable quantities per control area as given in Table 307.1(2) per outdoor control area in accordance with the IFC.
2. Are sufficient to pose a threat to the public if realeased.
-Aviation control towers, air traffic control centers and emergency aircraft hangers.
-Buildings and other structures having critical national defense functions.
-Water storage facilities and pump structures required to maintain water pressure for fire suppression.
Wind Exposure Categories:
Exposure: | Description |  | Example:
B | -For buildings with a mean roof height of less than 30 feet. |  | Terrain with numerous, closely spaced obstructions that have the sinze of single-family dwellings ro larger.
-Where ground surface roughness, as defined by Surface Roughness B, prevails in the upwind direction for a distance or not less than 1,500 feet.
| -Buildings with a mean roof height greater than 30 feert, exposure B shall apoply where Surface Roughness B prevails in the upwind direction for a distance of not less than 2,600 feet or 20 times the height of the building, whichever is greater. |  | -Urban and suburban areas and wooded areas.
C | -Expsosure C shall apply for all cases where Exposure B or D does not apply. |  | Open terrain with scattered obstructions that have heights gennerally less than 30 feet. |  | <---Most common Wind Exposure
-Flat, open country.
-Grasslands.
D | -Where the ground surface roughness, as defined by Surface Roughness D, prevails in the upwind direction for a distance of not less than 5,000 feet or 20 times the height of the building, whichever is greater. |  | Flat, unobstructed areas and water surfaces.
-Smooth mud flats.
| -Where the ground surface roughness immediatley upwind of the sire if B or C, and the site is withing a distance of 600 fee or 20 times the building height, whichever is greater. |  | -Salt flats.
-Unbroken ice.

## Sheet1 (hidden)
Snow Density (g): | 19.46 | pcf
Balanced Snow Load (hb): | 1.7978 | ft.
Obstruction (Parapet) Ht: | 3 | ft.
Clear Ht (hc): | 1.2022
Leeward Drift (hd): | 3.0205 | ft.
hw | 1.373 | ft.
Design Drift Ht (hd): | 1.2022
Ratio (hc/hb): | 0.66867 | Snow drifts required to be applied
Drift Length: | 4.8086
Wt. of Drift at Heigh End (pd): | 23.394
Rain-On-Snow Surch (prs): | 0
Balanced Snow Load pf(bal): | 42
Total Snow Load p(total): | 65.394

## AK Ground - Snow Loads
ALASKA GROUND SNOW LOAD REQUIREMENTS |  |  |  |  | 0
CITY / TOWN: | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): | ELEVATION: |  | 0 | (Pm) | (Pf)
Adak | 40 | 33.32 | 100 | *Enter information on Snow Load Conversion Tab |  | 30 | 33.32 | Additioanl Ground Snow Loads can be found at:
Anchorage/Eagle River | 80 | 66.64 | 500 | <--Enter Elevation (Base: 500 feet) |  | 30 | 66.64 | https://seaak.net/alaska-snow-loads
Artic Village | 48 | 39.984 | 2100 | *Ground Snow Loads apply to 7-10, 7-16, and 7-22 (as applicable) |  | 30 | 39.984
Barrow (Utqiagvik) | 40 | 33.32 | 100 |  |  | 30 | 33.32
Barter | 35 | 30 | 56 |  |  | 30 | 29.155
Bethel | 64 | 53.312 | 100 |  |  | 30 | 53.312
Bettles | 128 | 106.624 | 700 |  |  | 30 | 106.624
Cantwell | 136 | 113.288 | 2100 |  |  | 30 | 113.288
Cold Bay | 56 | 46.648 | 100 |  |  | 30 | 46.648
Cordova | 160 | 133.28 | 100 |  |  | 30 | 133.28
Deadhorse | 40 | 33.32 | 100 |  |  | 30 | 33.32
Delta Junction | 64 | 53.312 | 400 |  |  | 30 | 53.312
Dillingham | 176 | 146.608 | 100 |  |  | 30 | 146.608
Emmonak | 160 | 133.28 | 100 |  |  | 30 | 133.28
Fairbanks | 96 | 79.968 | 1200 |  |  | 30 | 79.968
Fort Yukon | 80 | 66.64 | 400 |  |  | 30 | 66.64
Galena | 96 | 79.968 | 200 |  |  | 30 | 79.968
Girdwood | 224 | 186.592 | 200 |  |  | 30 | 186.592
Glennallen | 72 | 59.976 | 1400 |  |  | 30 | 59.976
Gulkana | 70 | 58.31 | 1400 |  |  | 30 | 58.31
Haines | 296 | 246.568 | 100 |  |  | 30 | 246.568
Holy Cross | 192 | 159.936 | 100 |  |  | 30 | 159.936
Homer | 72 | 59.976 | 500 | <--Enter Elevation (Base: 500 feet) |  | 30 | 59.976
Iliamna | 128 | 106.624 | 200 |  |  | 30 | 106.624
Juneau | 112 | 93.296 | 100 |  |  | 30 | 93.296
Kaktovik | 72 | 59.976 | 100 |  |  | 30 | 59.976
Kenai/Soldotna | 104 | 86.632 | 200 |  |  | 30 | 86.632
Ketchikan | 48 | 39.984 | 100 |  |  | 30 | 39.984
Kobuk | 144 | 119.952 | 200 |  |  | 30 | 119.952
Kodiak | 56 | 46.648 | 100 |  |  | 30 | 46.648
Kotzebue | 96 | 79.968 | 100 |  |  | 30 | 79.968
McGrath | 104 | 86.632 | 400 |  |  | 30 | 86.632
Nenana | 120 | 99.96 | 400 |  |  | 30 | 99.96
Nikiski | 128 | 106.624 | 200 |  |  | 30 | 106.624
Nome | 112 | 93.296 | 100 |  |  | 30 | 93.296
Palmer/Wasilla | 80 | 66.64 | 500 |  |  | 30 | 66.64
Pertersburg | 152 | 126.616 | 100 |  |  | 30 | 126.616
Point Hope | 72 | 59.976 | 100 |  |  | 30 | 59.976
Saint Lawrence Island | 152 | 126.616 | 100 |  |  | 30 | 126.616
St. Paul Island | 64 | 53.312 | 100 |  |  | 30 | 53.312
Seward | 96 | 79.968 | 100 |  |  | 30 | 79.968
Shemya | 25 | 30 | 100 |  |  | 30 | 20.825
Sitka | 80 | 66.64 | 100 |  |  | 30 | 66.64
Talkeetna | 192 | 159.936 | 400 |  |  | 30 | 159.936
Tok | 56 | 46.648 | 1700 |  |  | 30 | 46.648
Umiat | 48 | 39.984 | 300 |  |  | 30 | 39.984
Unalakleet | 56 | 46.648 | 100 |  |  | 30 | 46.648
Unalska | 120 | 99.96 | 100 |  |  | 30 | 99.96
Valdez | 256 | 213.248 | 100 |  |  | 30 | 213.248
Wainwright | 40 | 33.32 | 100 |  |  | 30 | 33.32
Whittier | 432 | 359.856 | 100 |  |  | 30 | 359.856
Willow | 128 | 106.624 | 300 |  |  | 30 | 106.624
Wrangell | 60 | 49.98 | 100 |  |  | 30 | 49.98
Yakutat | 224 | 186.592 | 100 |  |  | 30 | 186.592

## CO Ground - Snow Loads
COLORADO GROUND SNOW LOAD REQUIREMENTS
CITY / TOWN: | COUNTY: | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): | ELEVATION: |  | (Pm) | (Pf)
East if I-25 and under 4,500 ft. | N/A | 30 | 30 | <4500 | *Enter information on Snow Load Conversion Tab | 30 | 24.99 | Additioanl Ground Snow Loads can be found at:
Alamosa | Alamosa | 25 | 30 | 7540 | *Ground Snow Loads only apply to 7-10 & 7-16 | 30 | 20.825 | 2016-Colorado-Design-Snow-Loads.pdf (seacolorado.org)
Aspen | Pitkin | 75 | 62.475 | 7890 |  | 30 | 62.475
Aurora | Arapahoe | 40 | 33.32 | 5400 |  | 30 | 33.32
Beaver Creek | Eagle | 75 | 62.475 | 8080 |  | 30 | 62.475
Boulder | Boulder | 40 | 33.32 | 5330 |  | 30 | 33.32
Breckenridge | Summit | 80 | 66.64 | 9600 |  | 30 | 66.64
Brighton | Adams | 35 | 30 | 4980 |  | 30 | 29.155
Buena Vista | Chaffee | 35 | 30 | 7960 |  | 30 | 29.155
Canon City | Fremont | 35 | 30 | 5350 |  | 30 | 29.155
Castle Rock | Douglas | 45 | 37.485 | 6220 |  | 30 | 37.485
Central City | Gilpin | 85 | 70.805 | 8510 |  | 30 | 70.805
Colorado Springs | El Paso | 45 | 37.485 | 6010 |  | 30 | 37.485
Copper Mountain | Summit | 80 | 66.64 | 9700 |  | 30 | 66.64
Cortez | Montezuma | 30 | 30 | 9190 |  | 30 | 24.99
Craig | Moffat | 30 | 30 | 6200 |  | 30 | 24.99
Creede | Mineral | 65 | 54.145 | 8800 |  | 30 | 54.145
Cripple Creek | Teller | 70 | 58.31 | 9490 |  | 30 | 58.31
Delta | Delta | 25 | 30 | 4960 |  | 30 | 20.825
Denver | Denver | 35 | 30 | 5280 |  | 30 | 29.155
Durango | La Plata | 55 | 45.815 | 6530 |  | 30 | 45.815
Eagle | Eagle | 45 | 37.485 | 6600 |  | 30 | 37.485
Estes Park | Larimer | 65 | 54.145 | 7250 |  | 30 | 54.145
Fairplay | Park | 55 | 45.815 | 9950 |  | 30 | 45.815
Fort Collins | Larimer | 35 | 30 | 5000 |  | 30 | 29.155
Georgetown | Clear Creek | 60 | 49.98 | 8520 |  | 30 | 49.98
Glenwood Springs | Garfield | 40 | 33.32 | 5760 |  | 30 | 33.32
Golden | Jefferson | 40 | 33.32 | 5670 |  | 30 | 33.32
Granby | Grand | 55 | 45.815 | 7980 |  | 30 | 45.815
Grand Junction | Mesa | 25 | 30 | 4590 |  | 30 | 20.825
Greeley | Weld | 30 | 30 | 4680 |  | 30 | 24.99
Gunnison | Gunnison | 45 | 37.485 | 7700 |  | 30 | 37.485
Keystone | Summit | 70 | 58.31 | 9170 |  | 30 | 58.31
Leadville | Lake | 75 | 62.475 | 10160 |  | 30 | 62.475
Longmont | Boulder | 35 | 30 | 4980 |  | 30 | 29.155
Meeker | Rio Blanco | 40 | 33.32 | 6240 |  | 30 | 33.32
Montrose | Montrose | 25 | 30 | 5810 |  | 30 | 20.825
Mount Crested Butte | Gunnison | 155 | 129.115 | 9900 |  | 30 | 129.115
Pagosa Springs | Archuleta | 75 | 62.475 | 7130 |  | 30 | 62.475
Paonia | Delta | 35 | 30 | 5680 |  | 30 | 29.155
Pueblo | Pueblo | 30 | 30 | 4690 |  | 30 | 24.99
Rifle | Garfield | 40 | 33.32 | 5350 |  | 30 | 33.32
Salida | Chaffee | 45 | 37.485 | 7080 |  | 30 | 37.485
Snowmass Village | Pitkin | 90 | 74.97 | 8210 |  | 30 | 74.97
Steamboat Springs | Routt | 85 | 70.805 | 6730 |  | 30 | 70.805
Telluride | San Miguel | 75 | 62.475 | 8790 |  | 30 | 62.475
Trinidad | Las Animas | 45 | 37.485 | 6030 |  | 30 | 37.485
Vail | Eagle | 90 | 74.97 | 8190 |  | 30 | 74.97
Vail Mountain | Eagle | 175 | 145.775 | 10300 |  | 30 | 145.775
Winter Park | Grand | 100 | 83.3 | 9050 |  | 30 | 83.3

## ID Ground - Snow Loads
IDAHO GROUND SNOW LOAD REQUIREMENTS
CITY / TOWN: | COUNTY: | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): | ELEVATION: |  | (Pm) | (Pf)
American Falls | Power | 24 | 30 | 4406 | *Enter information on Snow Load Conversion Tab | 30 | 19.992 | Additioanl Ground Snow Loads can be found at:
Ammon | Bonneville | 24 | 30 | 4718 | *Ground Snow Loads only apply to 7-10 & 7-16 | 30 | 19.992 | https://www.lib.uidaho.edu/digital/idahosnow/#:~:text=Interactive%20Map%20and%20Report%20about%20Ground%20Snow%20Loads
Blackfoot | Bingham | 28 | 30 | 4498 |  | 30 | 23.324
Bogus Basin Lodge | Ada | 137 | 114.121 | 6176 |  | 30 | 114.121
Boise | Ada | 15 | 30 | 2681 |  | 30 | 12.495
Brundage Mtn. Lodge | Valley | 207 | 172.431 | 6038 |  | 30 | 172.431
Buhl | Twin Falls | 28 | 30 | 3769 |  | 30 | 23.324
Burley | Cassia | 19 | 30 | 4159 |  | 30 | 15.827
Caldwell | Canyon | 18 | 30 | 2376 |  | 30 | 14.994
Chubbuck | Bannock | 31 | 30 | 4467 |  | 30 | 25.823
Coeur d'Alene | Kootenia | 43 | 35.819 | 2189 |  | 30 | 35.819
Eagle | Ada | 18 | 30 | 2566 |  | 30 | 14.994
Emmett | Gem | 15 | 30 | 2363 |  | 30 | 12.495
Fruitland | Payette | 18 | 30 | 2226 |  | 30 | 14.994
Garden City | Ada | 15 | 30 | 2673 |  | 30 | 12.495
Gooding | Gooding | 27 | 30 | 3571 |  | 30 | 22.491
Grangeville | Idaho | 18 | 30 | 6400 |  | 30 | 14.994
Hailey | Blaine | 82 | 68.306 | 5323 |  | 30 | 68.306
Hayden | Kootenia | 62 | 51.646 | 2287 |  | 30 | 51.646
Heyburn | Minidoka | 19 | 30 | 4146 |  | 30 | 15.827
Homedale | Owyhee | 16 | 30 | 2231 |  | 30 | 13.328
Idaho Falls | Bonneville | 23 | 30 | 4725 |  | 30 | 19.159
Jerome | Jerome | 12 | 30 | 3764 |  | 30 | 9.996
Ketchum | Blaine | 92 | 76.636 | 5846 |  | 30 | 76.636
Kimberly | Twin Falls | 14 | 30 | 3924 |  | 30 | 11.662
Kuna | Ada | 14 | 30 | 2693 |  | 30 | 11.662
Lewiston | Nez Perce | 10 | 30 | 994 |  | 30 | 8.33
McCall | Valley | 157 | 130.781 | 5012 |  | 30 | 130.781
Meridian | Ada | 16 | 30 | 2605 |  | 30 | 13.328
Middleton | Canyon | 18 | 30 | 2400 |  | 30 | 14.994
Montpelier | Bear Lake | 45 | 37.485 | 5986 |  | 30 | 37.485
Moscow | Latah | 38 | 31.654 | 2580 |  | 30 | 31.654
Mountain Home | Elmore | 15 | 30 | 2563 |  | 30 | 12.495
Nampa | Canyon | 15 | 30 | 2517 |  | 30 | 12.495
Orofino | Clearwater | 19 | 30 | 1017 |  | 30 | 15.827
Payette | Payette | 17 | 30 | 2148 |  | 30 | 14.161
Pocatello | Bannock | 31 | 30 | 4463 |  | 30 | 25.823
Post Falls | Kootenia | 72 | 59.976 | 2183 |  | 30 | 59.976
Preston | Franklin | 19 | 30 | 4715 |  | 30 | 15.827
Rathdrum | Kootenia | 87 | 72.471 | 2211 |  | 30 | 72.471
Rexburg | Madison | 50 | 41.65 | 4863 |  | 30 | 41.65
Rigby | Jefferson | 32 | 30 | 4851 |  | 30 | 26.656
Pupert | Minidoka | 18 | 30 | 4154 |  | 30 | 14.994
St. Anthony | Fremont | 37 | 30.821 | 4963 |  | 30 | 30.821
Salmon | Lemhi | 15 | 30 | 3943 |  | 30 | 12.495
Sandpoint | Bonner | 56 | 46.648 | 2101 |  | 30 | 46.648
Schweitzer Basin Lodge | Bonner | 243 | 202.419 | 4175 |  | 30 | 202.419
Shelley | Bingham | 35 | 30 | 4629 |  | 30 | 29.155
Silver Mt. Lodge | Shoshone | 173 | 144.109 | 5040 |  | 30 | 144.109
Soda Springs | Caribou | 70 | 58.31 | 5769 |  | 30 | 58.31
Star | Ada | 16 | 30 | 2471 |  | 30 | 13.328
Sun Valley Mt. Baldy | Blaine | 197 | 164.101 | 9000 |  | 30 | 164.101
Twin Falls | Twin Falls | 15 | 30 | 3734 |  | 30 | 12.495
Weiser | Washington | 17 | 30 | 2129 |  | 30 | 14.161
Wendell | Gooding | 20 | 30 | 3433 |  | 30 | 16.66

## MD Ground - Snow Loads
MARYLAND GROUND SNOW LOAD REQUIREMENTS
COUNTY: | WIND SPEED (V) (MPH) | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): |  | (Pm) | (Pf)
Allegany | 115 | 55 | 45.815 | *Enter information on Snow Load Conversion Tab | 30 | 45.815
Anne Arundel | 115 | 25 | 30 | *Ground Snow Loads only apply to 7-10 & 7-16 | 30 | 20.825
Baltimore County | 115 | 30 | 30 |  | 30 | 24.99
Baltimore City | 115 | 30 | 30 |  | 30 | 24.99
Calvert | 115 | 20 | 30 |  | 30 | 16.66
Caroline | 128 | 36 | 30 | *Min. 25 psf | 30 | 29.988
Carrol | 115 | 40 | 33.32 |  | 30 | 33.32
Cecil | 115 | 30 | 30 |  | 30 | 24.99
Charles | 115 | 25 | 30 |  | 30 | 20.825
Dorchester | 115 | 20 | 30 |  | 30 | 16.66
Fredrick | 115 | 30 | 30 | *Min. 40 psf if pitch is greater than 1/4:12 | 30 | 24.99
Garrett | 115 | 40 | 33.32 |  | 30 | 33.32
Harford | 115 | 30 | 30 |  | 30 | 24.99
Howard | 115 | 25 | 30 | *Min. 40 psf if pitch is greater than 1/4:12 | 30 | 20.825
Kent | 115 | 25 | 30 |  | 30 | 20.825
Montgomery | 115 | 30 | 30 |  | 30 | 24.99
Prince George's | 115 | 35 | 30 |  | 30 | 29.155
Queen Anne's | 115 | 25 | 30 |  | 30 | 20.825
Saint Mary's | 115 | 25 | 30 |  | 30 | 20.825
Somerset | 117 | 20 | 30 |  | 30 | 16.66
Talbot | 115 | 25 | 30 |  | 30 | 20.825
Washington | 115 | 40 | 33.32 | *30 GSL for Residential | 30 | 33.32
Wicomico | 120 | 20 | 30 | *20 GSL for Residential | 30 | 16.66
Worcester | 125 | 20 | 30 |  | 30 | 16.66
Ocean City | 128 | 20 | 30 |  | 30 | 16.66

## MT Ground - Snow Loads
MONTANA GROUND SNOW LOAD REQUIREMENTS
CITY / TOWN: | COUNTY: | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): | ELEVATION: |  | (Pm) | (Pf)
Anaconda | Deer Lodge | 47 | 39.151 | 5676 | *Enter information on Snow Load Conversion Tab | 30 | 39.151 | Additioanl Ground Snow Loads can be found at:
Baker | Fallon | 46 | 38.318 | 2966 | *Ground Snow Loads only apply to 7-10 & 7-16 | 30 | 38.318 | https://snowload.montana.edu/static/docs/MTSnowloads112105withMaps.pdf
Belgrade | Gallatin | 33 | 30 | 4446 |  | 30 | 27.489
Big Mt. Resort | Flathead | 94 | 78.302 | 4464 |  | 30 | 78.302
Big Timber | Sweet Grass | 37 | 30.821 | 4200 |  | 30 | 30.821
Billings | Yellowstone | 29 | 30 | 2342 |  | 30 | 24.157
Boulder | Jefferson | 74 | 61.642 | 4948 |  | 30 | 61.642
Bozeman | Gallatin | 40 | 33.32 | 4823 |  | 30 | 33.32
Butte | Silver Bow | 36 | 30 | 5824 |  | 30 | 29.988
Chinook | Blaine | 61 | 50.813 | 2418 |  | 30 | 50.813
Choteau | Teton | 19 | 30 | 3799 |  | 30 | 15.827
Costrip | Rosebud | 18 | 30 | 3232 |  | 30 | 14.994
Columbia Falls | Flathead | 71 | 59.143 | 3015 |  | 30 | 59.143
Columbus | Stillwater | 41 | 34.153 | 3599 |  | 30 | 34.153
Conrad | Pondera | 16 | 30 | 3520 |  | 30 | 13.328
But Bank | Glacier | 17 | 30 | 3793 |  | 30 | 14.161
Deer Lodge | Powell | 27 | 30 | 4593 |  | 30 | 22.491
Dillon | Beaverhead | 23 | 30 | 5125 |  | 30 | 19.159
East Helena | Lewis and Clark | 28 | 30 | 3904 |  | 30 | 23.324
Forsyth | Rosebud | 20 | 30 | 2510 |  | 30 | 16.66
Fort Benton | Chouteau | 29 | 30 | 2713 |  | 30 | 24.157
Glasgow | Valley | 24 | 30 | 2146 |  | 30 | 19.992
Glendive | Dawson | 16 | 30 | 2067 |  | 30 | 13.328
Great Falls | Cascade | 32 | 30 | 3399 |  | 30 | 26.656
Hamilton | Ravalli | 43 | 35.819 | 6919 |  | 30 | 35.819
Hardin | Big Horn | 15 | 30 | 2904 |  | 30 | 12.495
Havre | Hill | 49 | 40.817 | 2500 |  | 30 | 40.817
Helena | Lewis and Clark | 27 | 30 | 4013 |  | 30 | 22.491
Kalispell | Flathead | 56 | 46.648 | 2992 |  | 30 | 46.648
Laurel | Yellowstone | 36 | 30 | 3356 |  | 30 | 29.988
Lewis Hgts. | Fergus | 50 | 41.65 | 3914 |  | 30 | 41.65
Libby | Lincoln | 76 | 63.308 | 2198 |  | 30 | 63.308
Livingston | Park | 33 | 30 | 4544 |  | 30 | 27.489
Malta | Phillips | 30 | 30 | 2284 |  | 30 | 24.99
Manhattan | Gallatin | 21 | 30 | 4242 |  | 30 | 17.493
Miles City | Custer | 25 | 30 | 2362 |  | 30 | 20.825
Missoula | Missoula | 34 | 30 | 3245 |  | 30 | 28.322
Plentywood | Sheridan | 73 | 60.809 | 2080 |  | 30 | 60.809
Polson | Lake | 63 | 52.479 | 2999 |  | 30 | 52.479
Red Lodge | Carbon | 109 | 90.797 | 5610 |  | 30 | 90.797
Ronan | Lake | 50 | 41.65 | 3077 |  | 30 | 41.65
Roundup | Musselshell | 21 | 30 | 3209 |  | 30 | 17.493
Shelby | Toole | 28 | 30 | 3301 |  | 30 | 23.324
Sidney | Richland | 27 | 30 | 1969 |  | 30 | 22.491
Stevensville | Ravalli | 48 | 39.984 | 3399 |  | 30 | 39.984
Thompson Falls | Sanders | 51 | 42.483 | 2507 |  | 30 | 42.483
Three Forks | Gallatin | 22 | 30 | 4085 |  | 30 | 18.326
Townsend | Broadwater | 11 | 30 | 3868 |  | 30 | 9.163
W. Yellowstone | Gallatin | 122 | 101.626 | 6713 |  | 30 | 101.626
Whitefish | Flathead | 67 | 55.811 | 2999 |  | 30 | 55.811
Wolf Point | Roosevelt | 24 | 30 | 2057 |  | 30 | 19.992

## NH Ground - Snow Loads
NEW HAMPSHIRE GROUND SNOW LOAD REQUIREMENTS
CITY / TOWN: | COUNTY: | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): | ELEVATION: |  | (Pm) | (Pf)
Amherst | Hillsborough | 70 | 58.31 | 600 | *Enter information on Snow Load Conversion Tab | 30 | 58.31
Atkinson | Rockingham | 55 | 45.815 | 400 | *Ground Snow Loads only apply to 7-10 & 7-16 | 30 | 45.815
Barrington | Strafford | 70 | 58.31 | 500 |  | 30 | 58.31
Bedford | Hillsborough | 70 | 58.31 | 700 |  | 30 | 58.31
Belmont | Belknap | 80 | 66.64 | 900 |  | 30 | 66.64
Berlin | Coos | 100 | 83.3 | 1600 |  | 30 | 83.3
Bow | Merrimack | 75 | 62.475 | 800 |  | 30 | 62.475
Claremont | Sullivan | 85 | 70.805 | 1100 |  | 30 | 70.805
Concord | Merrimack | 70 | 58.31 | 600 |  | 30 | 58.31
Conway | Carroll | 95 | 79.135 | 900 |  | 30 | 79.135
Derry | Rockingham | 65 | 54.145 | 600 |  | 30 | 54.145
Dover | Strafford | 60 | 49.98 | 200 |  | 30 | 49.98
Hurhamp | Strafford | 55 | 45.815 | 150 |  | 30 | 45.815
Epping | Rockingham | 55 | 45.815 | 300 |  | 30 | 45.815
Exeter | Rockingham | 50 | 41.65 | 200 |  | 30 | 41.65
Farmington | Strafford | 85 | 70.805 | 800 |  | 30 | 70.805
Franklin | Merrimack | 75 | 62.475 | 700 |  | 30 | 62.475
Gilford | Belknap | 90 | 74.97 | 1200 |  | 30 | 74.97
Goffstown | Hillsborough | 75 | 62.475 | 800 |  | 30 | 62.475
Hampstead | Rockingham | 55 | 45.815 | 300 |  | 30 | 45.815
Hampton | Rockingham | 50 | 41.65 | 150 |  | 30 | 41.65
Hanover | Grafton | 75 | 62.475 | 1300 |  | 30 | 62.475
Hollis | Hillsborough | 60 | 49.98 | 500 |  | 30 | 49.98
Hooksett | Merrimack | 70 | 58.31 | 600 |  | 30 | 58.31
Hudson | Hillsborough | 60 | 49.98 | 400 |  | 30 | 49.98
Keene | Cheshire | 70 | 58.31 | 900 |  | 30 | 58.31
Laconia | Belknap | 80 | 66.64 | 900 |  | 30 | 66.64
Lebanon | Grafton | 80 | 66.64 | 1200 |  | 30 | 66.64
Litchfield | Hillsborough | 60 | 49.98 | 250 |  | 30 | 49.98
Londonderry | Rockingham | 65 | 54.145 | 500 |  | 30 | 54.145
Manchester | Hillsborough | 70 | 58.31 | 500 |  | 30 | 58.31
Merrimack | Hillsborough | 60 | 49.98 | 400 |  | 30 | 49.98
Milford | Hillsborough | 70 | 58.31 | 600 |  | 30 | 58.31
Nashua | Hillsborough | 60 | 49.98 | 400 |  | 30 | 49.98
Newmarket | Rockingham | 50 | 41.65 | 200 |  | 30 | 41.65
Newport | Sullivan | 85 | 70.805 | 1200 |  | 30 | 70.805
Pelham | Hillsborough | 55 | 45.815 | 400 |  | 30 | 45.815
Penbroke | Merrimack | 70 | 58.31 | 700 |  | 30 | 58.31
Plaistow | Rockingham | 55 | 45.815 | 300 |  | 30 | 45.815
Plymouth | Grafton | 75 | 62.475 | 900 |  | 30 | 62.475
Portsmouth | Rockingham | 50 | 41.65 | 100 |  | 30 | 41.65
Raymond | Rockingham | 60 | 49.98 | 500 |  | 30 | 49.98
Rochester | Strafford | 70 | 58.31 | 500 |  | 30 | 58.31
Salem | Rockingham | 55 | 45.815 | 300 |  | 30 | 45.815
Seabrook | Rockingham | 50 | 41.65 | 100 |  | 30 | 41.65
Somersworth | Strafford | 60 | 49.98 | 250 |  | 30 | 49.98
Stratham | Rockingham | 50 | 41.65 | 150 |  | 30 | 41.65
Swanzey | Cheshire | 65 | 54.145 | 800 |  | 30 | 54.145
Weare | Hillsborough | 80 | 66.64 | 900 |  | 30 | 66.64
Windham | Rockingham | 60 | 49.98 | 400 |  | 30 | 49.98

## NM Ground - Snow Loads
NEW MEXICO GROUND SNOW LOAD REQUIREMENTS
CITY / TOWN: | COUNTY: | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): | ELEVATION: |  | (Pm) | (Pf)
Alamogordo | Oter | 4 | 30 | 4300 | *Enter information on Snow Load Conversion Tab | 30 | 3.332
Albuquerque | Bernalillo | 18 | 30 | 5000 | *Ground Snow Loads only apply to 7-10 & 7-16 | 30 | 14.994
Artesia | Eddy | 10 | 30 | 3400 |  | 30 | 8.33
Aztec | San Juan | 10 | 30 | 5600 |  | 30 | 8.33
Bloomfield | San Juan | 9 | 30 | 5500 |  | 30 | 7.497
Carlsbad | Eddy | 10 | 30 | 3100 |  | 30 | 8.33
Closvis | Curry | 10 | 30 | 4300 |  | 30 | 8.33
Corrales | Sandoval | 9 | 30 | 5000 |  | 30 | 7.497
Deming | Luna | 8 | 30 | 4300 |  | 30 | 6.664
Espanola | Rio Arriba | 10 | 30 | 5600 |  | 30 | 8.33
Farmington | San Juan | 10 | 30 | 5300 |  | 30 | 8.33
Gallup | McKinley | 13 | 30 | 6500 |  | 30 | 10.829
Grants | Cibola | 16 | 30 | 6450 |  | 30 | 13.328
Hobbs | Lea | 10 | 30 | 3600 |  | 30 | 8.33
Jemez | Sandoval | 18 | 30 | 6200 |  | 30 | 14.994
Las Curces | Dona Ana | 9 | 30 | 3900 |  | 30 | 7.497
Las Vegas | San Miguel | 22 | 30 | 6400 |  | 30 | 18.326
Los Alamos | Los Alamos | 30 | 30 | 7300 |  | 30 | 24.99
Los Lunas | Valincia | 6 | 30 | 4900 |  | 30 | 4.998
Portales | Roosevelt | 9 | 30 | 4000 |  | 30 | 7.497
Red Rock | Grant | 4 | 30 | 6800 |  | 30 | 3.332
Roswell | Chaves | 14 | 30 | 3600 |  | 30 | 11.662
Ruidoso | Lincoln | 25 | 30 | 6700 |  | 30 | 20.825
Santa Fe | Santa Fe | 15 | 30 | 7000 |  | 30 | 12.495
Shiprock | San Juan | 9 | 30 | 4900 |  | 30 | 7.497
Socorro | Socorro | 13 | 30 | 4600 |  | 30 | 10.829
Zuni | McKinley | 14 | 30 | 6300 |  | 30 | 11.662

## OR Ground - Snow Loads
OREGAON GROUND SNOW LOAD REQUIREMENTS
CITY / TOWN: | COUNTY: | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): | ELEVATION: |  | (Pm) | (Pf)
Antelope | Wasco | 17 | 30 | 2840 | *Enter information on Snow Load Conversion Tab | 30 | 14.161
Ashland | Jackson | 13 | 30 | 1990 | *Ground Snow Loads only apply to 7-10 & 7-16 | 30 | 10.829
Astoria | Clatsop | 11 | 30 | 10 |  | 30 | 9.163
Baker City | Baker | 17 | 30 | 3450 |  | 30 | 14.161
Bandon | Coos | 0 | 30 | 20 |  | 30 | 0
Bend | Deschutes | 20 | 30 | 3660 |  | 30 | 16.66
Black Butte | Deschutes | 19 | 30 | 970 |  | 30 | 15.827
Bonneville Dam | Hood River | 44 | 36.652 | 60 |  | 30 | 36.652
Brookings | Curry | 1 | 30 | 50 |  | 30 | 0.833
Burns | Harney | 20 | 30 | 4140 |  | 30 | 16.66
Corvallis | Benton | 14 | 30 | 230 |  | 30 | 11.662
Crater Lake | Klamath | 461 | 384.013 | 6470 |  | 30 | 384.013
Crescent Lake | Klamath | 154 | 128.282 | 4760 |  | 30 | 128.282
Dallas | Polk | 20 | 30 | 290 |  | 30 | 16.66
Detroit | Marion | 78 | 64.974 | 1730 |  | 30 | 64.974
Diamond Lake | Klamath | 10 | 30 | 4160 |  | 30 | 8.33
Enterprise | Wallowa | 26 | 30 | 3280 |  | 30 | 21.658
Eugene | Lane | 12 | 30 | 360 |  | 30 | 9.996
Forest Grove | Washington | 17 | 30 | 180 |  | 30 | 14.161
Fossil | Wheeler | 21 | 30 | 2650 |  | 30 | 17.493
Government Camp | Clackamas | 321 | 267.393 | 3980 |  | 30 | 267.393
Grants Pass | Josephine | 6 | 30 | 920 |  | 30 | 4.998
Heppner | Morrow | 17 | 30 | 1880 |  | 30 | 14.161
Hood River | Hood River | 43 | 35.819 | 500 |  | 30 | 35.819
John Day | Baker | 8 | 30 | 500 |  | 30 | 6.664
Joseph | Wallowa | 16 | 30 | 4020 |  | 30 | 13.328
Klamath Falls | Klamath | 23 | 30 | 4100 |  | 30 | 19.159
La Grande | Union | 15 | 30 | 2750 |  | 30 | 12.495
Lakeview | Lake | 47 | 39.151 | 4780 |  | 30 | 39.151
Madras | Jefferson | 17 | 30 | 2440 |  | 30 | 14.161
Medford | Jackson | 4 | 30 | 1460 |  | 30 | 3.332
Mitchell | Wheeler | 46 | 38.318 | 3980 |  | 30 | 38.318
Newport | Lincoln | 2 | 30 | 140 |  | 30 | 1.666
North Bend | Coos | 2 | 30 | 10 |  | 30 | 1.666
Ontario | Malheur | 15 | 30 | 2140 |  | 30 | 12.495
Parkdale | Hood River | 79 | 65.807 | 1720 |  | 30 | 65.807
Pendleton | Umatilla | 30 | 30 | 1040 |  | 30 | 24.99
Portland | Multnomah | 11 | 30 | 30 |  | 30 | 9.163
Prineville | Crook | 15 | 30 | 2840 |  | 30 | 12.495
Redmond | Deschutes | 16 | 30 | 3060 |  | 30 | 13.328
Roseburg | Douglas | 7 | 30 | 420 |  | 30 | 5.831
Salem | Marion | 9 | 30 | 200 |  | 30 | 7.497
Santiam Pass | Linn | 481 | 400.673 | 4750 |  | 30 | 400.673
Seaside | Clatsop | 3 | 30 | 10 |  | 30 | 2.499
Sisters | Deschutes | 30 | 30 | 3180 |  | 30 | 24.99
The Dalles | Wasco | 24 | 30 | 100 |  | 30 | 19.992
Troutdale | Multnomah | 12 | 30 | 30 |  | 30 | 9.996
Vale | Malheur | 17 | 30 | 2240 |  | 30 | 14.161
Vernonia | Columbia | 35 | 30 | 840 |  | 30 | 29.155
Zig Zag | Clackamas | 70 | 58.31 | 1440 |  | 30 | 58.31

## UT Ground - Snow Loads
UTAH GROUND SNOW LOAD REQUIREMENTS
CITY / TOWN: | COUNTY: | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): | ELEVATION: |  | (Pm) | (Pf)
Beaver | Beaver | 35 | 30 | 5886 | *Enter information on Snow Load Conversion Tab | 30 | 29.155
Brigham City | Box Elder | 42 | 34.986 | 4423 | *Ground Snow Loads only apply to 7-10 & 7-16 | 30 | 34.986
Castel Dale | Emery | 32 | 30 | 5669 |  | 30 | 26.656
Coalville | Summit | 57 | 47.481 | 5581 |  | 30 | 47.481
Duchensne | Duchesne | 39 | 32.487 | 5508 |  | 30 | 32.487
Farmington | Davis | 35 | 30 | 4318 |  | 30 | 29.155
Fillmore | Millard | 30 | 30 | 5138 |  | 30 | 24.99
Heber City | Wasatch | 60 | 49.98 | 5604 |  | 30 | 49.98
Junction | Piute | 27 | 30 | 6030 |  | 30 | 22.491
Kanab | Kane | 25 | 30 | 4964 |  | 30 | 20.825
Loa | Wayne | 37 | 30.821 | 7060 |  | 30 | 30.821
Logan | Cache | 43 | 35.819 | 4531 |  | 30 | 35.819
Manila | Daggett | 26 | 30 | 6368 |  | 30 | 21.658
Manti | Sanpete | 37 | 30.821 | 5620 |  | 30 | 30.821
Moab | Grand | 21 | 30 | 4029 |  | 30 | 17.493
Monticello | San Juan | 67 | 55.811 | 7064 |  | 30 | 55.811
Morgan | Morgan | 52 | 43.316 | 5062 |  | 30 | 43.316
Nephi | Juab | 39 | 32.487 | 5131 |  | 30 | 32.487
Ogden | Weber | 37 | 30.821 | 4334 |  | 30 | 30.821
Panguitch | Garfield | 41 | 34.153 | 6630 |  | 30 | 34.153
Parowan | Iron | 32 | 30 | 6007 |  | 30 | 26.656
Price | Carbon | 31 | 30 | 5558 |  | 30 | 25.823
Provo | Utah | 31 | 30 | 4541 |  | 30 | 25.823
Randolph | Rich | 50 | 41.65 | 6286 |  | 30 | 41.65
Richfield | Sevier | 27 | 30 | 5338 |  | 30 | 22.491
St. George | Washington | 21 | 30 | 2585 |  | 30 | 17.493
Salt Lake City | Salt Lake | 28 | 30 | 4339 |  | 30 | 23.324
Tooele | Tooele | 35 | 30 | 5029 |  | 30 | 29.155
Vernal | Unintah | 39 | 32.487 | 5384 |  | 30 | 32.487

## WA Ground - Snow Loads
WASHINGTON GROUND SNOW LOAD REQUIREMENTS
CITY / TOWN: | COUNTY: | GROUND SNOW LOAD REQUIREMENT (lb/ft2): | MIN. ROOF SNOW LOAD (lb/ft2): | ELEVATION: |  | (Pm) | (Pf)
Arlington | Snohomish | 17 | 30 | 120 | *Enter information on Snow Load Conversion Tab | 30 | 14.161 | Additioanl Ground Snow Loads can be found at:
Auburn | King | 20 | 30 | 85 | *Ground Snow Loads only apply to 7-10 & 7-16 | 30 | 16.66 | https://static1.squarespace.com/static/5c3faa364eddecdc367bedc5/t/5c50814a562fa7296ef9c419/1548779850480/WABO-SEAW+Snow+Load+White+Paper.pdf
Bainbridge Island | Kitsap | 15 | 30 | 100 |  | 30 | 12.495
Bellvue | King | 20 | 30 | 100 |  | 30 | 16.66
Bellingham | Watcom | 15 | 30 | 100 |  | 30 | 12.495
Bonney Lake | Pierce | 18 | 30 | 40 |  | 30 | 14.994
Bothell | King | 20 | 30 | 90 |  | 30 | 16.66
Bremerton | Kitsap | 15 | 30 | 100 |  | 30 | 12.495
Burien | King | 16 | 30 | 325 |  | 30 | 13.328
Covington | King | 20 | 30 | 84 |  | 30 | 16.66
Crystal Mt. | Pierce | 438 | 364.854 | 4380 |  | 30 | 364.854
Des Moines | King | 18 | 30 | 370 |  | 30 | 14.994
Edmonds | Snohomish | 20 | 30 | 350 |  | 30 | 16.66
Ellenburg | Kittitas | 34 | 30 | 1540 |  | 30 | 28.322
Everett | Snohomish | 15 | 30 | 110 |  | 30 | 12.495
Federal Way | King | 20 | 30 | 85 |  | 30 | 16.66
Issaquash | King | 20 | 30 | 100 |  | 30 | 16.66
Kenmore | King | 20 | 30 | 90 |  | 30 | 16.66
Kennewick | Benton | 15 | 30 | 400 |  | 30 | 12.495
Kent | King | 20 | 30 | 50 |  | 30 | 16.66
Kirkland | King | 20 | 30 | 180 |  | 30 | 16.66
Lacey | Thurston | 15 | 30 | 200 |  | 30 | 12.495
Lake Stevens | Snohomish | 15 | 30 | 250 |  | 30 | 12.495
Lakewood | Pierce | 15 | 30 | 235 |  | 30 | 12.495
Longview | Cowlitz | 18 | 30 | 21 |  | 30 | 14.994
Lynnwood | Snohomish | 22 | 30 | 435 |  | 30 | 18.326
Maple Valley | King | 23 | 30 | 440 |  | 30 | 19.159
Marysville | Snohomish | 16 | 30 | 20 |  | 30 | 13.328
Mercer Island | King | 16 | 30 | 320 |  | 30 | 13.328
Mt. Baker | Whatcom | 588 | 489.804 | 4200 |  | 30 | 489.804
Mt. Spokane | Spokane | 151 | 125.783 | 5800 |  | 30 | 125.783
Mt. Vernon | Skagit | 15 | 30 | 180 |  | 30 | 12.495
Oak Harbor | Island | 17 | 30 | 120 |  | 30 | 14.161
Olympia | Thurston | 15 | 30 | 130 |  | 30 | 12.495
Pasco | Franklin | 15 | 30 | 383 |  | 30 | 12.495
Pullman | Whitman | 30 | 30 | 2400 |  | 30 | 24.99
Puyallup | Pierce | 18 | 30 | 40 |  | 30 | 14.994
Redmond | King | 20 | 30 | 120 |  | 30 | 16.66
Renton | King | 20 | 30 | 15 |  | 30 | 16.66
Richland | Benton | 15 | 30 | 359 |  | 30 | 12.495
Sammamish | King | 28 | 30 | 520 |  | 30 | 23.324
SeaTac | King | 22 | 30 | 440 |  | 30 | 18.326
Seattle | King | 20 | 30 | 350 |  | 30 | 16.66
Shoreline | King | 22 | 30 | 450 |  | 30 | 18.326
Snoqualmie Pass | Kittitas | 433 | 360.689 | 3000 |  | 30 | 360.689
Spokane | Spokane | 39 | 32.487 | 2000 |  | 30 | 32.487
Spokane Valley | Spokane | 39 | 32.487 | 2000 |  | 30 | 32.487
Steven Pass | Chelan | 400 | 333.2 | 4060 |  | 30 | 333.2
Tacoma | Pierce | 21 | 30 | 380 |  | 30 | 17.493
Tukwila | King | 16 | 30 | 325 |  | 30 | 13.328
Univ. Place | Pierce | 20 | 30 | 400 |  | 30 | 16.66
Vancouver | Clark | 20 | 30 | 150 |  | 30 | 16.66
Walla Walla | Walla Walla | 18 | 30 | 1000 |  | 30 | 14.994
Wenatchee | Chelan | 22 | 30 | 780 |  | 30 | 18.326
White Pass | Yakima | 244 | 203.252 | 4720 |  | 30 | 203.252
Yakima | Yakima | 19 | 30 | 1066 |  | 30 | 15.827